## 位移电压曲线Travel & Voltage
位移与电压曲线/Displacement vs Voltage Curve
|  | 电压Voltage (V) | 开环Open-loop | 闭环/Closed-loop
|  |  | 位移Displacement (µm) | 位移Displacement (µm)
|  | 0 | 0 | 0
www.coremorrow.com | 微信服务号/Wechat | 12 | 4.4807 | 6.4767
|  | 24 | 9.8923 | 12.9594
|  | 36 | 16.095 | 19.4406
|  | 48 | 22.8976 | 25.9258
|  | 60 | 30.0895 | 32.4143
测试环境/Test Condition |  | 72 | 37.477 | 38.9031
型号/Model | P93.X70C | 84 | 44.8552 | 45.3961
测试温度/Temperature | 20℃，31%RH | 96 | 52.1312 | 51.8871
负载/Load | 空载Unloaded | 108 | 59.1628 | 58.3821
电压范围/Voltage | 0~120V | 120 | 65.9692 | 64.8785
|  | 108 | 62.0263 | 58.3869
|  | 96 | 57.176 | 51.8946
|  | 84 | 51.7559 | 45.4044
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch. |  | 72 | 45.8308 | 38.91
|  | 60 | 39.4391 | 32.4213
|  | 48 | 32.6189 | 25.933
|  | 36 | 25.3673 | 19.4474
|  | 24 | 17.7224 | 12.9661
|  | 12 | 9.6537 | 6.4821
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。 |  | 0 | 1.3596 | 0.00343
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 谐频与负载Freq vs Load
谐振频率曲线/Resonant frequency Curve
|  | 负载Load[g] | 谐振频率Resonant frequency (Hz)
|  | 0 | 174
www.coremorrow.com | 微信服务号/Wechat | 100 | 166
|  | 200 | 160
|  | 500 | 144
|  | 1000 | 125
|  | 2000 | 103
测试环境/Test Condition |  | 3000 | 89
型号/Model | P93.X70C | 5000 | 73
测试温度/Temperature | 20℃，31%RH | 10000 | 54
|  | 20000 | 39
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 线性度Linearity
线性度/Linearity
|  | 控制输入Control input（V） | 输出位移Displacement（μm） | 偏差位移Deviation（μm） | 线性度Linearity（%F.S.）
|  | 0 | 0 | 0 | 0
|  | 1 | 6.4767 | -0.0112 | -0.017263
www.coremorrow.com | 微信服务号/Wechat | 2 | 12.9594 | -0.0162 | -0.02497
|  | 3 | 19.4406 | -0.023 | -0.035451
|  | 4 | 25.9258 | -0.0256 | -0.039458
|  | 5 | 32.4143 | -0.025 | -0.038534
|  | 6 | 38.9031 | -0.024 | -0.036992
测试环境/Test Condition |  | 7 | 45.3961 | -0.0188 | -0.028977
型号/Model | P93.X70C | 8 | 51.8871 | -0.0158 | -0.024353
测试温度/Temperature | 20℃，31%RH | 9 | 58.3821 | -0.0086 | -0.013256
负载/Load | 空载Unloaded | 10 | 64.8785 | 0 | 0
电压范围/Voltage | 0~120V
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.