## 位移电压曲线Travel & Voltage
位移与电压曲线/Displacement vs Voltage Curve
|  | 电压Voltage (V) | 开环Open-loop | 闭环/Closed-loop
|  |  | 位移Displacement (µm) | 位移Displacement (µm)
|  | 0 | 0 | 0
www.coremorrow.com | 微信服务号/Wechat | 15 | 0.77402 | 0.78888
|  | 30 | 1.674 | 1.5795
|  | 45 | 2.6372 | 2.3734
|  | 60 | 3.5916 | 3.1746
|  | 75 | 4.499 | 3.9759
测试环境/Test Condition |  | 90 | 5.338 | 4.7778
型号/Model | P63.Z7S | 105 | 6.1064 | 5.5768
测试温度/Temperature | 20℃，31%RH | 120 | 6.8052 | 6.3768
负载/Load | 空载Unloaded | 135 | 7.4395 | 7.1819
电压范围/Voltage | 0~150V | 150 | 8.0298 | 8.0069
|  | 135 | 7.6042 | 7.1934
|  | 120 | 7.0915 | 6.3836
|  | 105 | 6.5126 | 5.5751
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch. |  | 90 | 5.862 | 4.7717
|  | 75 | 5.1424 | 3.971
|  | 60 | 4.3414 | 3.1734
|  | 45 | 3.4499 | 2.3806
|  | 30 | 2.4591 | 1.5921
|  | 15 | 1.3581 | 0.79803
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。 |  | 0 | 0.14037 | 0.01164
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 谐频与负载Freq vs Load
谐振频率曲线/Resonant frequency Curve
|  | 负载Load[g] | 谐振频率Resonant frequency (Hz)
|  | 0 | 2519
www.coremorrow.com | 微信服务号/Wechat | 20 | 1390
|  | 50 | 973
|  | 100 | 715
|  | 200 | 516
|  | 500 | 330
测试环境/Test Condition
型号/Model | P63.Z7S
测试温度/Temperature | 20℃，31%RH
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 线性度Linearity
线性度/Linearity
|  | 控制输入Control input（V） | 输出位移Displacement（μm） | 偏差位移Deviation（μm） | 线性度Linearity（%F.S.）
|  | 0 | 0 | 0 | 0
|  | 1 | 0.78888 | -0.011811 | -0.14751
www.coremorrow.com | 微信服务号/Wechat | 2 | 1.5795 | -0.021932 | -0.27391
|  | 3 | 2.3734 | -0.028683 | -0.35823
|  | 4 | 3.1746 | -0.028194 | -0.35212
|  | 5 | 3.9759 | -0.027565 | -0.34427
|  | 6 | 4.7778 | -0.026306 | -0.32854
测试环境/Test Condition |  | 7 | 5.5768 | -0.028027 | -0.35004
型号/Model | P63.Z7S | 8 | 6.3768 | -0.028688 | -0.35829
测试温度/Temperature | 20℃，31%RH | 9 | 7.1819 | -0.024319 | -0.30373
负载/Load | 空载Unloaded | 10 | 8.0069 | 0 | 0
电压范围/Voltage | 0~150V
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.